Workplace Inspections Checklist

SHOP

| LOCATION INSPECTOR(S) DATE |
| --- |
| A General | Yes No |
| A1 Housekeeping in working space is maintained. |  |  |
| A2 PPE (ear protection, eye protection, etc.) are available and being used. |  |  |
| A3 First-aid supplies and assistance are available. |  |  |
| A4 Access to emergency exits are clear at all times. |  |  |
| A5 Three points of contact are maintained whenever possible, especially on ladders and stairs. |  |  |
| B Electrical | Yes No |
| B1 Panels have a minimum of 1 metre clearance in front. |  |  |
| B2 Appropriate grounding is in place for power systems and circuits. |  |  |
| B3 Plugs and cords are not frayed, stretched, or showing signs of damage. |  |  |
| B4 Extension cords are used only for temporary purposes. |  |  |
| B5 Variable lighting height and brightness are available depending on the task. |  |  |
| C Fire Control | Yes No |
| C1 Sprinkler heads have the required vertical clearance of 12 inches. |  |  |
| C2 Fire suppression equipment is available when required. |  |  |
| D Tools | Yes No |
| D1 Tool guards are in place and being used for tools that require them. |  |  |
| D2 Correct tools are being used for the job. |  |  |
| D3 Lockout/tagout process is known for electrical tools. |  |  |
| D4 Tools are inspected prior to each use and forms are filled out as needed. |  |  |
| E Spill Control | Yes No |
| E1 Supplies and procedures are available for spill control. |  |  |
| E2 Spills are cleaned up immediately, and barriers and/or hazard signs are adequate and visible. |  |  |
| E3 Eyewash stations are clean and the fluid is fresh. |  |  |
| F Environmentally Hazardous Substance Management | Yes No |
| F1 Ventilation equipment is working as expected and does not have excessive dust accumulation. |  |  |
| F2 Paint and chemical supplies are used properly with PPE and ventilation equipment. |  |  |
| F3 Chemical and flammable/combustible wastes are properly disposed of. |  |  |
| F4 Staff is trained using up-to-date Safety Info Sheets, which are also readily accessible. |  |  |
| F5 Products decanted into containers have appropriate labels. |  |  |
| G Workers, Contractors, and Volunteers | Yes No |
| G1 Involved parties are trained on tasks and supervised during performances. |  |  |
| G2 Appropriate PPE is used, inspected, and maintained by involved parties. |  |  |
| G3 Non-slip safety footwear is worn properly by all workers, contractors, and volunteers. |  |  |
| G4 Heavy loads are assessed prior to lifting to determine if help is needed. |  |  |
| Identified hazards from previous inspection have been resolved. |  |  |

Workplace Inspections Checklist

SHOP

# NOTES

Any item on the checklist that was checked under “No” should be explained here. Make any note regarding hazards, questions or concerns you have.